AED Site Specific Protocol and

Standing Orders For:

USDA, ARS

New England Plant, Soil and Water Lab

University of Maine, Portage Road

Orono, Maine

##### Activation of the AED Response Team

To be used in conjunction with your agency’s already established medical emergency plan.

A.	During Regular Business Hours

In any potentially life-threatening cardiac emergency, or in the absence of any signs of circulation (normal breathing, coughing, or movement):

Persons on the scene will:

- Shout for help to alert nearby coworkers and the AED Response Team.

- Have someone notify the local EMS / paramedic personnel by dialing 911 and inform the Dispatch Operator of the location and nature of the emergency and that an AED unit is on site.

- Have someone meet the AED Response Team members at a visible location and direct them to the victim.

- Have someone meet the EMS / paramedic personnel in a visible location and escort and / or direct them to the location of the emergency.

AED Responders will:

- Obtain the AED unit closest to them or to the site of the emergency and proceed with it to the emergency site.

- All other AED responders will go directly to the site of the emergency.

Emergency Site Protocol:

- Team members will identify themselves as AED Responders

- The First AED Responder on the scene will:

    - Assume care of the victim

    - Use Universal Precautions

    - Assess the safety of the situation and environment

Assess the victim – Assess responsiveness; tap or gently shake the victim

and shout, “Are you OK?”

    - Verify that EMS has been called

    - If an AED unit is not present send someone to get it, begin CPR if indicated.

- If there is a Second AED Responder on scene they will assist the First with CPR, monitoring of the victim and application of AED if indicated.

- The First and Second Responders act as the primary care givers.

- To avoid confusion, only Four responders will participate in the emergency event. Third and Fourth responders will assist with recording of data and times, notifications, crowd control, escorting of EMS, and back up for CPR as needed. Any additional responders will leave the immediate area.

- If AED use is indicated, the AED trained personnel will administer the AED and CPR according to established protocols (see Automated External Defibrillation Treatment Algorithm) until local EMS arrive and assume care of the victim.

Post Event Guidelines:

- Use Universal Precautions.

- Place any contaminated items in a red biohazard bag for disposal.  If the AED unit has been contaminated, place it in a separate red biohazard bag for later disinfecting.  See manufacturer’s manual for AED cleaning instructions.

- After victim has been appropriately transferred to the local EMS professionals’ care, see Attachment 4 “Event Documentation Form” for further instructions.

- During Non-Business Hours

In any potentially life-threatening cardiac emergency, or in the absence of any signs of circulation (normal breathing, coughing, or movement):

- Follow the Medical Emergency Plan already established by your agency.

( Per American Heart Association recommendations, an AED should not be used on children younger than 8 years old, unless the responder is appropriately trained.

You may wish to keep extra copies of Attachment 4 “Event Documentation Form” available by the phone or with the AED unit to assist in the documentation of Sudden Cardiac Arrest emergency events.